|  |  |
| --- | --- |
|  | National University of Technology (NUTECH)IJP Road, Sector I-12Islamabad Telephone : 051-5476805106/SCM/NUTECH 06 January 2021 |

To: M/s

Subject: Request for Quotation**: - Comp Lab Equipment-2 (PSDP)**

**Please provide quotation for following items. Quotes will be submitted in closed envelop and must reached to SCM Office latest by 13 January 2021 before 1100 hrs.**

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Ser** | **Item** | **Specifications** | **A/U** | **Country of Origin** | **Qty Req** | **Price/Unit** | **Total Price** |
|  | **Magnifying lens with in-built light** | * Super bright 60 or higher ultra-efficient SMD LEDs
* Equipped with strong internal springs in the arm
* Covered arm for full protection
* Lamp head with stainless steel ring for decoration
* Integrated handle for easy positioning
* Heavy duty metal G-clamp
* Colour temperature 6000 ... 6500 K
* Luminous flux at least 950 lumen
* Heavy-duty fastening clamp with 5 ... 60 mm opening
* Working radius: approx. 1 m

**Sample picture is attached in Annexure “A”**Specs:1. Lens: Glass
2. Colour: White
3. Magnification: 1.75x or higher
4. Diameter lens: 127mm or higher
5. Energy Class: A+
 | No | Any | 2 |  |  |
|  | **FM Transmitter Module** | * FM Transmitter Module 85MHz-108MHz
 | No | Any | 10 |  |  |
|  | **Metal Detector** | * DC 3V-5V 60mm Metal Detector Kit Non-contact Sensor
 | No | Any | 10 |  |  |
|  | **Cabinet Organizer****(Large)** | * 39 or higher Drawers clear hard plastic storage box organizer.
* Grid design in divided box keeps items in compartments from migrating.
* The single drawer body is transparent, can see objects inside the box.
* Can hang on the wall and also can put on table.
* 9 or higher large drawers and 30- or higher small drawers (**As per Annex B**)
 | No | Any | 3 |  |  |
|  | **Soldering Station (Digital)** | * Input Voltage: AC 220V $\~$ 240V
* Input Frequency: 50/60Hz
* Plug type: 13A fused 3 pin plug
* Power Output: 50W
* Temperature Range: 200 $\~$ 480 C
* Tip and ground impedance :<2 Ohm
* Tip and ground potential :< 2mV

Include:1. 230V AU Plug soldering station
2. 907 soldering handle
3. Iron holder
4. User manual

Or Equivalent  | No | Any | 20 |  |  |
|  | **Stepper motor** | * 5v Stepper Motor + ULN2003 Driver 28Byj-48

Or Equivalent  | No | Any | 12 |  |  |
|  | **Servo motor** | * Hitec HS-422 Servo Motor, 180 degree

Or Equivalent  | No | Any | 12 |  |  |
|  | **Arduino MKR GSM 1400** | * Arduino MKR GSM 1400
 | No | Any | 3 |  |  |
|  | **Arduino ETHERNET SHIELD W5100 R3** | * Arduino ETHERNET SHIELD W5100 R3
 | No | Any | 5 |  |  |
|  | **Arduino MKR WIFI 1010** | * Arduino MKR WIFI 1010
 | No | Any | 3 |  |  |
|  |  |  | **Net Total (Without Taxes)** |  |  |
|  |  |  | **Total Taxes** |  |  |
|  |  |  | **Gross Total inclusive of all taxes** |  |  |

1. Please provide unit price of each item, Total price per item, Total price of all items without all applicable taxes and total price with all taxes.
2. Please also mention date of quote, **NTN** and **STRN** number in your quotation.
3. Delivery period will be 5 days from the day of placing order.
4. Rates shall be quoted on free delivery basis at NUTECH Islamabad.
5. Please ensure delivery within stipulated time.
6. Quotes must reach in SCM Office 2nd Floor Admin Block NUTECH Islamabad latest

 by 13 Jan 2021.

7. The same RFQ may also be available on NUTECH Website i.e https://nutech.edu.pk/downloads/procurement/rfqs/

1. **Quotes will be opened on 13 January 2021.**
2. 100% payment will be made after successful completion of the order and user

 satisfaction.

Deputy Assistant Director

Ehsan Ul Haq

Supply Chain Management Office

**Annexure A (Magnifying lens with in-built light)**

****

**Annexure B (Cabinet Organizer)**

****